## README
THE REBUILD / The Rebuild Plan - Oil Elimination & Grid Decarbonization Model
Purpose: dynamic model of eliminating US oil / fully decarbonizing the grid (no new nuclear), with a front-loaded build schedule and a federal fiscal model.
LEGEND:
Blue text on soft gold fill = inputs you can change
Black text = formulas (do not overwrite); navy on light blue = key results
All $ in 2025 USD billions unless noted; energy in TWh/yr; capacity in GW
TABS:
Assumptions - all input dials
BuildSchedule - year-by-year 2026-2051 with front-loaded ramp; finds independence year & underwater years
Capex - capacity and cost breakdown for the selected scope
Fiscal - federal cost vs revenue levers; net deficit impact (low/central/high)
Benefits - annual societal benefits & payback
Sources: EIA/CBO/NREL/DOE/EPA anchors as of Jul 2026; assumptions per Arnold analysis sessions (see master reference MD). Figures are order-of-magnitude planning estimates.
SESSION 2 CORRECTIONS (Jul 11, 2026): Household tab added mirroring the Rebuild site calculator (the-rebuild.html). Prices updated to today: gasoline $3.85/gal (AAA), electricity 17.5c/kWh (EIA). Heat pump savings include cooling (gas 22%/oil 50%/baseboard 60% + 40% cooling gain); solar offsets 80% of non-heating electricity; 5-minute-neighborhood streams added (car-light $850/mo, walkshed $95/mo, location-efficient home $90/mo); three-futures comparison with -15% real electricity after build and +25% do-nothing escalation; wealth projection at 7% to age 65.
NAMING (Jul 11, 2026): Movement renamed THE REBUILD; legislative package = The Rebuild Plan; domain rebuildplan.org available. Prior name The Rebuild conflicted with an active Conservative Energy Network campaign. Naming history in master reference MD.
TAGLINE (locked Jul 11, 2026): "Rebuilding the American Power Grid" - a 25-year plan to rebuild the electric grid, making the US energy independent, cutting families utility costs, rebuilding household savings, and paying down the national debt. First bill: The Power Dividend Act.

## Assumptions
ASSUMPTIONS (edit blue-text shaded cells)
Scope: 1 = oil-only, 2 = fully decarbonize grid | 2
Start year | 2026
Target year | 2051
Base US generation (TWh) | 4300
Existing clean retained (TWh; nuclear 780+hydro 250+W&S 720) | 1750
Legacy fossil generation to replace if Scope=2 (TWh) | 2550
Data centers today (TWh) | 185
Data centers 2050 (TWh) | 800
DC S-curve midpoint year | 2032
DC S-curve steepness k | 0.45
Organic growth %/yr (non-DC base) | 0.5%
Oil electrification full load (TWh: EV+efuel input+industry) | 3230
Building-gas electrification add (TWh) | 400
Blended new-build capacity factor | 0.34
Front-load: peak build (GW/yr) | 120
Front-load: plateau build (GW/yr) | 100
Ramp: start build 2026 (GW/yr) | 40
Ramp years to peak | 5
EGS cap (GW, 0.85 CF) | 90
Hydro add (GW, 0.45 CF) | 15
Solar CF | 0.24
Wind CF (on+off blend) | 0.4
Solar $/W | 1.25
Wind $/W | 1.7
EGS $/W | 4.5
Hydro $/W | 3
Storage+V2G+thermal ($B, scope-scaled base) | 1450
Electrolyzer+e-fuel+seasonal ($B) | 900
HVDC+T&D ($B) | 1400
EV premium+chargers ($B) | 850
Transit/BRT/TOD ($B) | 350
Buildings & heat layer ($B) | 1900
Contingency % | 8%
Job-year cost ($/job-yr) | 250000
Social cost of carbon ($/t) | 190
VSL ($M) | 11
Lives saved low (k/yr) | 40
Lives saved high (k/yr) | 95
Fuel+bill savings ($B/yr) | 1200
Resilience value ($B/yr) | 100
Oil CO2 (Gt/yr) | 2.2
Building gas CO2 (Gt/yr) | 0.8

## BuildSchedule
FRONT-LOADED BUILD SCHEDULE & DEMAND RACE (2026-2051)
Year | Build GW/yr | Added TWh | Cum new clean TWh | Data ctr TWh | Organic TWh | Oil-elec TWh | Bldg TWh | Total demand TWh | New load vs 2026 | Demand growth this yr | Underwater? (growth>build) | Oil covered cleanly?
2026 | 40 | 0 | 0 | 223.7286 | 4115 | 0 | 0 | 4338.7286 | 0 | 0
2027 | 56 | 166.9046 | 166.9046 | 243.6399 | 4135.575 | 178.2611 | 16 | 4573.476 | 234.7474 | 234.7474 | YES
2028 | 72 | 214.5917 | 381.4963 | 272.2384 | 4156.2529 | 332.6469 | 32 | 4793.1382 | 454.4096 | 219.6622 | YES
2029 | 88 | 262.2787 | 643.775 | 311.6103 | 4177.0341 | 479.1435 | 48 | 5015.788 | 677.0594 | 222.6498
2030 | 104 | 309.9658 | 953.7408 | 362.7661 | 4197.9193 | 620.7411 | 64 | 5245.4265 | 906.6979 | 229.6385
2031 | 120 | 357.6528 | 1311.3936 | 424.4569 | 4218.9089 | 758.8038 | 80 | 5482.1696 | 1143.441 | 236.7431
2032 | 120 | 357.6528 | 1669.0464 | 492.5 | 4240.0035 | 894.1135 | 96 | 5722.6169 | 1383.8883 | 240.4473
2033 | 120 | 357.6528 | 2026.6992 | 560.5431 | 4261.2035 | 1027.1757 | 112 | 5960.9223 | 1622.1937 | 238.3054
2034 | 120 | 357.6528 | 2384.352 | 622.2339 | 4282.5095 | 1158.3439 | 128 | 6191.0873 | 1852.3587 | 230.165
2035 | 120 | 357.6528 | 2742.0048 | 673.3897 | 4303.922 | 1287.8781 | 144 | 6409.1899 | 2070.4613 | 218.1026
2036 | 100 | 298.044 | 3040.0488 | 712.7616 | 4325.4416 | 1415.978 | 160 | 6614.1813 | 2275.4527 | 204.9914
2037 | 100 | 298.044 | 3338.0928 | 741.3601 | 4347.0689 | 1542.8011 | 176 | 6807.23 | 2468.5014 | 193.0487
2038 | 100 | 298.044 | 3636.1368 | 761.2714 | 4368.8042 | 1668.4747 | 192 | 6990.5503 | 2651.8217 | 183.3203
2039 | 100 | 298.044 | 3934.1808 | 774.7289 | 4390.6482 | 1793.1042 | 208 | 7166.4813 | 2827.7527 | 175.931
2040 | 100 | 298.044 | 4232.2248 | 783.6428 | 4412.6015 | 1916.7777 | 224 | 7337.022 | 2998.2934 | 170.5407
2041 | 100 | 298.044 | 4530.2688 | 789.4687 | 4434.6645 | 2039.5702 | 240 | 7503.7033 | 3164.9747 | 166.6813
2042 | 100 | 298.044 | 4828.3128 | 793.243 | 4456.8378 | 2161.5461 | 256 | 7667.6269 | 3328.8983 | 163.9236
2043 | 100 | 298.044 | 5126.3568 | 795.6743 | 4479.122 | 2282.7615 | 272 | 7829.5578 | 3490.8292 | 161.9309
2044 | 100 | 298.044 | 5424.4008 | 797.2348 | 4501.5176 | 2403.2656 | 288 | 7990.018 | 3651.2894 | 160.4601
2045 | 100 | 298.044 | 5722.4448 | 798.2339 | 4524.0252 | 2523.1017 | 304 | 8149.3608 | 3810.6322 | 159.3428
2046 | 100 | 298.044 | 6020.4888 | 798.8727 | 4546.6453 | 2642.3084 | 320 | 8307.8265 | 3969.0979 | 158.4657
2047 | 100 | 298.044 | 6318.5328 | 799.2808 | 4569.3785 | 2760.9204 | 336 | 8465.5796 | 4126.851 | 157.7532
2048 | 100 | 298.044 | 6616.5768 | 799.5412 | 4592.2254 | 2878.9686 | 352 | 8622.7352 | 4284.0066 | 157.1556
2049 | 100 | 298.044 | 6914.6208 | 799.7074 | 4615.1865 | 2996.4813 | 368 | 8779.3752 | 4440.6466 | 156.64
2050 | 100 | 298.044 | 7212.6648 | 799.8134 | 4638.2625 | 3113.484 | 384 | 8935.5598 | 4596.8312 | 156.1846 |  | YES
2051 | 100 | 298.044 | 7510.7088 | 799.881 | 4661.4538 | 3230 | 400 | 9091.3348 | 4752.6062 | 155.775 |  | YES
KEY OUTPUTS
Independence year (oil covered cleanly) |  |  | 2050
Underwater years (count) |  |  | 2
New clean built by target (TWh) |  |  | 7510.7088
Required new clean (TWh, scope-adjusted) |  |  | 7302.6062
Surplus / (shortfall) TWh |  |  | 208.1026

## Capex
CAPACITY & CAPEX
New clean required (TWh) | 7302.6062
EGS TWh | 670.599
Hydro TWh | 59.1705
Variable TWh (solar+wind 50/50) | 6572.8367
Solar GW | 1562.1047
Wind GW | 937.2628
COMPONENT ($B) | Cost
Solar (UPV+BIPV) | 1952.6309
Wind (on+offshore) | 1593.3468
EGS geothermal | 405
Hydro | 45
Storage+V2G+thermal | 1450
Electrolyzers+e-fuel | 900
HVDC+T&D | 1400
EV premium+chargers | 850
Transit/BRT/TOD | 350
Contingency | 715.6782
CORE TOTAL | 9661.6559
+ Buildings & heat layer | 1900
GRAND TOTAL | 11561.6559
Per year over program | 462.4662
Sustained jobs (M, direct) | 1.5459

## Fiscal
FEDERAL FISCAL MODEL ($B/yr, mid-program)
Private capital share | 82%
Private capital carries ($T) | 9.4806
FEDERAL PUBLIC COST
Clean tax credits (tech-neutral, declining) | 55
Transmission/transit/RD&D | 25
Green bank + loan guarantees | 8
Just transition | 10
Total public cost | 98
REVENUE / OFFSETS / SAVINGS | Low | Central | High | Status
Carbon fee (net after dividend) | 70 | 110 | 160 | Econ consensus - keystone
Cut fossil tax subsidies (phased) | 15 | 20 | 25 | Consensus
Higher taxes on wealthy | 80 | 130 | 200 | Revenue real; yields debated
Social Security cap lift / means test | 30 | 55 | 90 | VALUES CHOICE
Defense reallocation (oil mission) | 20 | 40 | 70 | CONTESTED
Federal health savings (cleaner air) | 25 | 45 | 70 | Plausible, lagging
Avoided climate/disaster outlays | 15 | 30 | 60 | Rises over time
Growth / broader tax base | 20 | 45 | 80 | Dynamic; uncertain
Total positives | 275 | 475 | 755
NET ANNUAL DEFICIT IMPROVEMENT | 177 | 377 | 657
Cumulative over program ($T) | 4.425 | 9.425 | 16.425

## Benefits
ANNUAL SOCIETAL BENEFITS & PAYBACK
Climate ($B/yr) | 570
Health low ($B/yr) | 440
Health high ($B/yr) | 1045
Fuel+bill savings ($B/yr) | 1200
Resilience ($B/yr) | 100
Total low | 2310
Total high | 2915
Payback vs grand total (yrs, low ben) | 5.005
Payback vs grand total (yrs, high ben) | 3.9663

## Household
HOUSEHOLD CALCULATOR (mirrors site; prices as of Jul 2026)
Miles driven per year | 12000
Vehicle MPG | 25
Gasoline $/gal (AAA Jul 2026) | 3.85
Electricity $/kWh (EIA Jul 2026) | 0.175
EV efficiency kWh/mile | 0.3
Monthly utility bill | 220
Heat type: 1=gas 2=oil/propane 3=elec baseboard 4=heat pump | 1
Your age | 35
Share of savings invested | 50%
Annual return | 7%
Carbon dividend $/household/yr | 1020
Electricity real decline after build | 15%
Do-nothing escalation by 2040 | 25%
LEVERS (1=on, 0=off)
EV at next trade-in | 1
Heat pump | 1
Weatherize | 0
Rooftop/community solar | 0
Two cars -> one | 0
Daily needs within a walk | 0
Location-efficient home | 0
LEVER VALUES ($/yr)
Gasoline cost (baseline) | 1848
EV charging cost | 630
EV value (fuel+maint) | 1568
Heating share of bill | 0.45
Heating cost/yr | 1188
Cooling cost/yr | 475.2
Heat pump value | 451.44
Weatherization value | 660
Solar value (80% non-heat elec) | 1161.6
Two cars -> one (AAA all-in) | 10200
Walkable errands | 1140
Location-efficient home | 1080
Carbon fee still paid | 52.8
RESULTS
Net kept per year | 2986.64
Net kept per month | 248.8867
THREE FUTURES (monthly) | Today | After the build | You keep
Driving | 154 | 44.625 | 109.375
Home heating/cooling/power | 220 | 149.38 | 70.62
Second car + errand trips | 0 | 0 | 0
Monthly dividend | 0 | -85 | 85
TOTAL | 374 | 109.005 | 264.995
Do-nothing path (2040, fossil escalation) | 467.5
Do-nothing tax vs after-build ($/mo) | 358.495
WEALTH PROJECTION (asset-poverty exit)
Years to 65 | 30
Monthly invested | 124.4433
Projected assets at 65 | 151817.2573